	«Ankor-Teploenergo» PRMF
Address:  19, Kyrgyzska str., Kharkiv, 61105, Ukraine
Reg. number:   32762338
	tel.: +38 (068) 477 75 69

                                                    e-mail: phe@ankort.com
             Website: www.ankort.com 

	
[image: image1]


Questionnaire

for ordering an air/air heat exchanger 
	Data about customer:

	Company name:
	

	Address:
	

	Object:
	

	Tel./ e-mail:
	

	Person of contact:
	


Function: ____________________________________________________________________
	No.
	Parameter Name
	Parameter value
	Units

	Hot air

	1
	Flowrate
	
	nm3/h

	
	
	
	kg/h

	2
	Temperature

inlet / outlet
	/
	°С

	3
	Inlet air humidity
	
	%

	or
	Moisture content of inlet air
	
	g/kg

	4
	Working pressure
	
	Pa

	
	
	
	ata  (bar)

	5
	Allowable pressure drops
	
	Pa

	
	
	
	ata  (bar)

	6
	Air canal size
	
	mm

	7
	Heat duty
	
	kW

	
	
	
	Gcal/h

	Cold air

	8
	Temperature

inlet / outlet
	/
	°С

	9
	Flowrate
	
	nm3/h

	
	
	
	kg/h

	10
	Inlet air humidity
	
	%

	or
	Moisture content of inlet air
	
	g/kg

	11
	Working pressure
	
	Pa

	
	
	
	ata  (bar)

	12
	Allowable pressure drops
	
	Pa

	
	
	
	ata  (bar)

	13
	Air canal size
	
	mm

	14
	Max. or required dimensions of the heat exchanger (L*W*H)
	
	mm

	15
	Where is the heat exchanger installed 

(cross out unnecessary)
	Hot air side
	before the pressure source / 

after pressure source

	
	
	Cold air side
	before the pressure source / 

after pressure source

	16
	Name and brand of pressure source on hot air side
	

	17
	Name and brand of pressure source on cold air side
	


Heat exchanger materials withes: __________________________________________________________________

Additional Information __________________________________________________________________________
_____________________________________________________________________________________________
Thank you for choosing our company!

We will quickly and efficiently 
calculate equipment 
according to your data.

[image: image2.png]TR R el ©/ANKOR




