	«Ankor-Teploenergo» PRMF
Address:  19, Kyrgyzska str., Kharkiv, 61105, Ukraine
Reg. number:   32762338
	tel.: +38 (068) 477 75 69
                                                    e-mail: phe@ankort.com
             Website: www.ankort.com 

	[image: image1.jpg]PRODUCTION OF HEAT EXCHANGING EQUIPMENT







Questionnaire

for ordering heat exchanger for heating water with flue gasses
(is the initial technical document for performing optimizing calculations and ordering heat exchanger).

	HEAT EXCHANGER FUNCTION:

	
	Hot side
	Cold side

	Media name:
	Flue gasses
	Water

	
	Intel
	Outlet
	Intel
	Outlet

	Working mediums temp. t, °С:           
	
	
	
	

	Mass flowrate of media kg/h:            G                                     
	
	
	
	

	Heat duty:                                                 Q
	
	MW       
	

	
	
	Gcal/h
	

	Over surface, %:
	

	Working pressure:                               P
	
	MPa
	
	MPa

	
	
	kg/cm2(g.)
	
	kg/cm2(g.)

	Design pressure:                                   P
	
	MPa
	
	MPa

	
	
	kg/cm2(g.)
	
	kg/cm2(g.)

	Allowable pressure drops:               (P
	
	kPa
	
	kPa

	
	
	kg/cm2
	
	kg/cm2

	The need for tests on intergranular corrosion
	
	Yes or No

	Special requirements::

	

	

	

	The gases were obtained after…

	

	The chemical composition of the gases, % mass. bring in annex

	Dew point for gases, 0С:

	Minimum permissible minus temperature of wall of unit under pressure
	
	t, 0С

	Is the device installed outdoors
	Yes
	No

	Heat exchanger installation area
	

	

	Climatic performance:
	


	PHYSICAL PROPERTIES OF FLUE GASES

	Parameter 
	Inlet
	Outlet
	Unit

	Temperature
	
	
	(С

	Density
	
	
	kg/m3

	Specific heat  
	
	
	J / kg * 0С

	Thermal conductivity
	
	
	W / m * 0С

	Viscosity
	
	
	cP

	Surface tension coeff. 
	
	
	N/m

	Heat of vaporization
	
	
	J / kg

	Chemical composition of gas

	No.
	Element name
	% mass 

	1
	
	

	2
	
	

	3
	
	

	4
	
	

	5
	
	

	6
	
	

	7
	
	

	8
	
	

	9
	
	

	10
	
	

	11
	
	

	12
	
	

	13
	
	

	14
	
	

	15
	
	

	16
	
	

	17
	
	

	18
	
	

	19
	
	

	20
	
	


	Estimated service life, years
	


Thank you for choosing our company!

We will quickly and efficiently 

calculate equipment 

according to your data.

